TEL: (010) 023 0609 E-MAIL: nokuthulaspecialschool@gmail.com NPO No: 001041 EMIS No: 152835.

ANNUAL TEACHING PLAN

BRICKLAYING AND PLASTERING

GRADE 5 -YEAR 1-3

    - Grade 5 : 1st, 2nd and 3rd year Term 1

Learners are three years in Grade 5 , and it is not advisable to repeat the same activities/projects more than once as this will not provide the learner the opportunity to learn additional skills.

| Grade 5 Term 1 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
| 1 | Health, safety and good housekeeping practices | Grade 5 1st year - Identify and remove potential hazards in the work areas - State unsafe conditions and acts - Practice good housekeeping | Grade 5 1st year The teacher: - Discusses and demonstrates how to identify and remove potential hazards in the work areas - Discusses unsafe conditions and acts - Discusses and demonstrates how to practice good housekeeping |
|  |  |  | The learner completes the following activities: - Identifies and removes potential hazards in the work areas - States unsafe conditions and acts - Practices good housekeeping |
|  | Health, safety and good housekeeping practices | Grade 5 2nd year - Access a first aid box - Administer basic first aid - Practice good housekeeping | Grade 5 2nd year The teacher: - Discusses and demonstrates how to access a first aid box - Discusses and demonstrates how to administer basic first aid - Discusses and demonstrates how to practice good housekeeping |

| Grade 5 Term 1 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  |  | Grade 5 3rd year - Identify the criteria for the work experience programme - Practice good housekeeping | The learner completes the following activities: - Accesses a first aid box - Administers basic first aid - Practices good housekeeping |
|  | World of work |  |  |
|  |  |  | Grade 5 3rd year The teacher: - Discusses and demonstrates how to identify the criteria for the work experience programme - Discusses and demonstrates how to practice good housekeeping |
|  |  |  | The learner completes the following activities: - States the criteria for the work experience programme - Practices good housekeeping |
| 2 | Tools and equipment | Grade 5 1st year - Identify, use and care for tools | Grade 5 1st year The teacher: - Discusses and demonstrates how to identify, use and care for tools |
|  |  |  | The learner completes the following activities: - Identifies, uses and cares for tools |
|  | Building and bricklaying | Grade 5 2nd year - Build an arch | Grade 5 2nd year The teacher: - Discusses and demonstrates how to build an arch |

| Grade 5 Term 1 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | Basic plastering skills | Grade 5 3rd year - Mix plaster | - Discusses and demonstrates how to fit arch support The learner completes the following activities: - Observes and assists in building an arch - Observes and assists in fitting an arch support Grade 5 3rd year The teacher: - Discusses and demonstrates how to mix plaster The learner completes the following activities: - Mixes plaster |
| 3 | Tools and equipment | Grade 5 1st year - Identify, use and care for power tools | Grade 5 1st year The teacher: - Discusses and demonstrates how to identify, use and care for power tools |
|  |  |  | The learner completes the following activities: - Identifies, uses and cares for power tools |
|  | Building and bricklaying | Grade 5 2nd year - Build an arch | Grade 5 2nd year The teacher: - Discusses and demonstrates how to build an arch - Discusses and demonstrates how to set brickwork on the arch support |

| Grade 5 Term 1 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | Basic plastering skills | Grade 5 3rd year - Prepare work area for plastering, remove dust and dirt and dampen surfaces where necessary | The learner completes the following activities: - Observes and assists in building a flat arch - Observes and assists in setting brickwork on the arch support Grade 5 3rd year The teacher: - Discusses and demonstrates how to prepare work area for plastering, remove dust and dirt and dampen surfaces where necessary The learner completes the following activities: - Prepares work area for plastering, removes dust and dirt and dampens surfaces where necessary |
| 4 | Tools and equipment Building and bricklaying | Grade 5 1st year - Identify, use and care for specialised tools Grade 5 2nd year - Build one brick corner in a stretcher bond | Grade 5 1st year The teacher: - Discusses and demonstrates how to identify, use and care for specialised tool The learner completes the following activities: Identifies, uses and cares for specialised tools Grade 5 2nd year The teacher: - Discusses and demonstrates how to build a one brick corner in a stretcher bond The learner completes the following activities: |

| Grade 5 Term 1 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | Basic plastering skills | Grade 5 3rd year - In-situ plaster mouldings are prepared and fixed according to specifications | - Observes and assists in building a one brick corner in a stretcher bond Grade 5 3rd year The teacher: - Discusses and demonstrates how to prepare and fix in-situ plaster mouldings according to specifications The learner completes the following activities: - Observes and assists with preparing and fixing In-situ plaster mouldings according to specifications |
| 5 | Tools and equipment Building and bricklaying | Grade 5 1st year - Identify, use and care for measuring tools Grade 5 2nd year - Build one brick corner in a stretcher bond | Grade 5 1st year The teacher: - Discusses and demonstrates how to identify, use and care for measuring tools The learner completes the following activities: - Identifies, uses and cares for measuring tools Grade 5 2nd year The teacher: - Discusses and demonstrates how to build a one brick corner in a stretcher bond The learner completes the following activities: - Observes and assists in building a one brick corner in a stretcher bond |

| Grade 5 Term 1 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | Basic plastering skills | Grade 5 3rd year - Prefabricated mouldings are prepared and fixed according to specifications | Grade 5 3rd year The teacher: - Discusses and demonstrates how to prepare and fix prefabricated mouldings according to specifications The learner completes the following activities: - Prepares and fixes prefabricated mouldings according to specifications |
| 6 | Tools and equipment Building and bricklaying Basic plastering skills | Grade 5 1st year - Maintain and repair tools and equipment. Grade 5 2nd year - Build 330 columns or piers Grade 5 3rd year - Prefabricated mouldings are prepared and fixed according to specifications | Grade 5 1st year The teacher: - Discusses and demonstrates how to maintain and repair tools and equipment. The learner completes the following activities: - Observes and assists in maintaining and repairing tools and equipment. Grade 5 2nd year The teacher: - Discusses and demonstrates how to build 330 columns or piers The learner completes the following activities: - Observes and assists in building 330 columns or piers Grade 5 3rd year The teacher: - Discusses and demonstrates how to prepare and fix prefabricated mouldings |

| Grade 5 Term 1 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  |  |  | according to specifications The learner completes the following activities: - Observes and assists in preparing and fixing prefabricated mouldings according to specifications |
| 7 | Access equipment Building and bricklaying Basic plastering skills | Grade 5 1st year - Clear and level area where scaffolding is erected Grade 5 2nd year - Build 330 columns or piers Grade 5 3rd year - Plaster skirting’s are formed according to specifications | Grade 5 1st year The teacher: - Discusses and demonstrates how to level and clear area where scaffolding is erected The learner completes the following activities: - Levels and clears area where scaffolding is erected Grade 5 2nd year The teacher: - Discusses and demonstrates how to build 330 columns or piers The learner completes the following activities: - Observes and assists in building 330 columns or piers Grade 5 3rd year The teacher: - Discusses and demonstrates how plaster skirting’s are formed according to specifications |

| Grade 5 Term 1 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  |  |  | The learner completes the following activities: - Observes and assists in forming plaster skirting’s according to specifications |
| 8 | Access equipment Building and bricklaying Basic plastering skills | Grade 5 1st year - Place adjustable jacks in position - Level horizontal components Grade 5 2nd year - Build 220 columns Grade 5 3rd year - Plaster walls | Grade 5 1st year The teacher: - Discusses and demonstrates how to place adjustable jacks in position - Discusses and demonstrates how to level horizontal components The learner completes the following activities: - Places adjustable jacks in position - Levels horizontal components Grade 5 2nd year The teacher: - Discusses and demonstrates how to build 220 columns The learner completes the following activities: - Observes and assists in building 220 columns Grade 5 3rd year The teacher: - Discusses and demonstrates how to plaster walls The learner completes the following activities: |

| Grade 5 Term 1 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  |  |  | - Observes and assists in plastering walls |
| 9 | Access equipment Building and bricklaying Basic plastering skills | Grade 5 1st year - Position scaffold boards properly on supports - Tighten all couplings Grade 5 2nd year - Build 220 columns Grade 5 3rd year - Plaster walls | Grade 5 1st year The teacher: - Discusses and demonstrates how to position scaffold boards properly on supports - Discusses and demonstrates how to tighten all couplings The learner completes the following activities: - Positions scaffold boards properly on supports - Tightens all couplings Grade 5 2nd year The teacher: - Discusses and demonstrates how to build 220 columns The learner completes the following activities: - Observes and assists in building 220 columns Grade 5 3rd year The teacher: - Discusses and demonstrates how to plaster walls The learner completes the following activities: - Observes and assists in plastering walls |

Practical assessment Term 1

Assessment is formally recorded during four (4) practical sessions with a minimum of four (4) skills reported. Learners, regardless of abilities, shall be assessed on the same skill. Although four theoretical are assessed and recorded, a minimum of one 1 theoretical activity is reported on. The following serves as suggestion of skills to record and report on.

The learner must be able to:

| Week | Grade 5 1st year |  |  | Grade 5 2nd year |  | Grade 5 3rd year |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Use basic tools Care for basic tools |  |  | Secure temporary arch side supports Secure arch support |  | Dry mix plaster Wet mix plaster |  |  |
| 3 | Use power tools Care for power tools |  |  | Set brick work on arch support Cut and place centre brick |  | Prepare plastering Dampen necessary | work area surfaces | for where |
| 4 | Use specialised tools Care for specialised |  |  | Erect profile for brickwork Build a brick corner in stretcher bond | a | Prepare plaster mouldings Fix plaster mouldings |  |  |
| 5 | Use measuring tools Care for measuring tools |  |  | Erect profile for brickwork Build a brick corner in stretcher bond | a | Prepare plaster mouldings Fix plaster mouldings |  |  |
| 6 | Maintain tools and equipment Repair tools and equipment |  |  | Set profile for 330 column Build a 330 column |  | Prepare plaster mouldings Fix plaster mouldings |  |  |
| 7 | Clear area for scaffolding Level area for scaffolding |  |  | Set profile for 330 column Build a 330 column |  | Mark off area for plaster skirting Form plaster skirting |  |  |
| 8 | Place adjustable position Level jacks | jack | in | Set profile for 220 column Build a 220 column |  | Prepare plaster mouldings Fix plaster mouldings |  |  |
| 9 | Tighten couplings Position scaffold supports on supports | board | on | Set profile for 220 column Build a 220 column |  | Prepare plaster mouldings Fix plaster mouldings |  |  |

| Theoretical assessment Term 1 Assessment of 4 theoretical worksheets/activities to be recorded with a minimum of 1 theoretical worksheet/activity to be reported. The following serves as suggestions of worksheets/activities to report on. The learner must be able to: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Week | Grade 5 1st year | Grade 5 2nd year |  |  | Grade 5 3rd year |  |  |  |
|  | 2 | Identify basic tools | State the purpose of an arch support |  |  | State the proportions of sand and cement to be used |  |  |  |
|  | 3 | Identify power tools | State the reason for cutting the centre brick |  |  | State the reason for preparing are for plastering |  |  |  |
|  | 4 | Identify specialised tools | State the purpose stretcher bond | of | a | State the reason for using in- situ plaster mouldings |  |  |  |
|  | 5 | Identify measuring tools | State the purpose stretcher bond | of | a | State the reason for using in- situ plaster mouldings |  |  |  |
|  | 6 | State the reasons for tools and equipment getting equipment | State the purpose of a 330 column |  |  | State the reason for using in- situ plaster mouldings |  |  |  |
|  | 7 | State the reason for levelling area for scaffolding | State the purpose of a 330 column |  |  | State the reason for plaster skirting |  |  |  |
|  | 8 | State the reason for using adjustable jacks | State the purpose of a 220 column |  |  | State the plastering walls | reasons | for |  |
|  | 9 | State the reason for support boards | State the purpose of a 220 column |  |  | State the reason for floating plastered walls |  |  |  |

    - Grade 5 : 1st, 2nd and 3rd year Term 2

| Grade 5 Term 2 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
| 1 | Health, safety and good housekeeping practices | Grade 5 1st year - Practice good housekeeping - Locate fire extinguishers and fire hoses | Grade 5 1st year The teacher: - Discusses and demonstrates how to practice good housekeeping - Discusses and demonstrates how to locate fire extinguishers and fire hoses |
|  |  |  | The learner completes the following activities: - Practices good housekeeping - Locates fire extinguishers and fire hoses |
|  | Health, safety and good housekeeping practices | Grade 5 2nd year - Intervene in a first aid scenario - Treat bleeding wounds - Practice good housekeeping | Grade 5 2nd year The teacher: - Discusses and demonstrates how intervene in a first aid scenario - Discusses and demonstrates how to treat bleeding wounds - Discusses and demonstrates how to practice good housekeeping |
|  |  |  | The learner completes the following activities: - Intervenes in a first aid scenario - Treats bleeding wounds - Practices good housekeeping |
|  | World of work | Grade 5 3rd year - Perform personal management/ activities | Grade 5 3rd year The teacher: |

| Grade 5 Term 2 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  |  | for daily living - Participate in the learner work experience programme(LWEP) - Practice good housekeeping | - Discusses and demonstrates how to perform personal management/ activities for daily living - Discusses how to participate in the learner work experience programme(LWEP) - Discusses and demonstrates how to practice good housekeeping The learner completes the following activities: - Performs personal management/ activities for daily living - Participates in the learner work experience programme(LWEP) - Practices good housekeeping |
| 2 | Access equipment | Grade 5 1st year - Dismantle and stack components in the correct order | Grade 5 1st year The teacher: - Discusses and demonstrates how to dismantle and stack components in the correct order |
|  |  |  | The learner completes the following activities: - Dismantles and stacks components in the correct order |
|  | Building and bricklaying | Grade 5 2nd year - Build an arch | Grade 5 2nd year The teacher: - Discusses and demonstrates how to build an arch |
|  |  |  | The learner completes the following activities: - Observes and assists in building an arch |

| Grade 5 Term 2 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | Basic plastering skills | Grade 5 3rd year - Use correct tools for horizontal and vertical joints | Grade 5 3rd year The teacher: - Discusses and demonstrates how to use correct tools for horizontal and vertical joints |
|  |  |  | The learner completes the following activities: - Uses correct tools for horizontal and vertical joints |
| 3 | Access equipment | Grade 5 1st year - Erect and dismantle a trestle scaffold | Grade 5 1st year The teacher: - Discusses and demonstrates how to erect and dismantle a trestle scaffold |
|  |  |  | The learner completes the following activities: - Observes and assists in erecting and dismantling a trestle scaffold |
|  | Building and bricklaying | Grade 5 2nd year - Build an arch | Grade 5 2nd year The teacher: - Discusses and demonstrates how to build an arch |
|  |  |  | The learner completes the following activities: - Observes and assists in building an arch |
|  | Finishing | Grade 5 3rd year - Fit windows | Grade 5 3rd year The teacher: - Discusses and demonstrates how to fit windows |

| Grade 5 Term 2 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  |  |  | The learner completes the following activities: - Observes and assists in fitting windows |
| 4 | Building and bricklaying | Grade 5 1st year - Describe the procedures and precautions involved in mixing of concrete and mortar on site | Grade 5 1st year The teacher: - Discusses and demonstrates the procedures and precautions involved in mixing of concrete and mortar on site |
|  |  |  | The learner completes the following activities: - Describes the procedures and precautions involved in mixing of concrete and mortar on site |
|  | Building and bricklaying | Grade 5 2nd year - Install horizontal reinforcement in accordance with movement and strength requirements | Grade 5 2nd year The teacher: - Discusses and demonstrates how to install horizontal reinforcement in accordance with movement and strength requirements |
|  |  |  | The learner completes the following activities: - Observes and assists in installing horizontal reinforcement in accordance with movement and strength requirements |
|  | Finishing | Grade 5 3rd year - Fit windows | Grade 5 3rd year The teacher: - Discusses and demonstrates how to fit windows |

| Grade 5 Term 2 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  |  |  | The learner completes the following activities: - Observes and assists in fitting windows |
| 5 | Building and bricklaying | Grade 5 1st year - Describe the procedures and precautions involved in mixing of concrete and mortar on site | Grade 5 1st year The teacher: - Discusses and demonstrates the procedures and precautions involved in mixing of concrete and mortar on site |
|  |  |  | The learner completes the following activities: - Describes the procedures and precautions involved in mixing of concrete and mortar on site |
|  | Building and bricklaying | Grade 5 2nd year - Install horizontal reinforcement in accordance with movement and strength requirements | Grade 5 2nd year The teacher: - Discusses and demonstrates how to install horizontal reinforcement in accordance with movement and strength requirements |
|  |  |  | The learner completes the following activities: - Observes and assists in installing horizontal reinforcement in accordance with movement and strength requirements |
|  | Finishing | Grade 5 3rd year - Fit wall plates for roof trusses | Grade 5 3rd year The teacher: - Discusses and demonstrates how to fit wall plates for roof trusses |

| Grade 5 Term 2 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  |  |  | The learner completes the following activities: - Observes and assists in fitting wall plates for roof trusses |
| 6 | Building and bricklaying | Grade 5 1st year - Cast a concrete slab | Grade 5 1st year The teacher: - Discusses and demonstrates how to cast a concrete slab |
|  |  |  | The learner completes the following activities: - Observes and assists in casting a concrete slab |
|  | Building and bricklaying | Grade 5 2nd year - Prepare the work area where the formwork is to be fabricated | Grade 5 2nd year The teacher: - Discusses and demonstrates how to prepare the work area where the formwork is to be fabricated |
|  |  |  | The learner completes the following activities: - Prepares the work area where the formwork is to be fabricated |
|  | Finishing | Grade 5 3rd year - Set out, position and secure roof trusses | Grade 5 3rd year The teacher: - Discusses and demonstrates how to set out, position and secure roof trusses |
|  |  |  | The learner completes the following activities: - Observes and assists in setting out, positioning and securing roof trusses |
| 7 | Building and | Grade 5 1st year | Grade 5 1st year |

| Grade 5 Term 2 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | bricklaying | - Cast a concrete slab Grade 5 2nd year - Prepare the work area where the formwork is to be fabricated Grade 5 3rd year - Set out, position and secure roof trusses | The teacher: - Discusses and demonstrates how to cast a concrete slab |
|  |  |  | The learner completes the following activities: - Observes and assists in casting a concrete slab |
|  | Building and bricklaying |  | Grade 5 2nd year The teacher: - Discusses and demonstrates how to prepare the work area where the formwork is to be fabricated |
|  |  |  | The learner completes the following activities: - Prepares the work area where the formwork is to be fabricated |
|  | Finishing |  | Grade 5 3rd year The teacher: - Discusses and demonstrates how to set out, position and secure roof trusses |
|  |  |  | The learner completes the following activities: - Observes and assists in setting out, positioning and securing roof trusses |
| 8 | Building and bricklaying | Grade 5 1st year - Lay a concrete floor and top screed | Grade 5 1st year The teacher: - Discusses and demonstrates how to lay a concrete floor and top screed |

| Grade 5 Term 2 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | Building and bricklaying Finishing | Grade 5 2nd year - Fabricate formwork Grade 5 3rd year - Set out, position and secure roof trusses | The learner completes the following activities: - Observes and assists in laying a concrete floor and top screed Grade 5 2nd year The teacher: - Discusses and demonstrates how to fabricate formwork The learner completes the following activities: - Observes and assists in fabricating formwork Grade 5 3rd year The teacher: - Discusses and demonstrates how to set out, position and secure roof trusses The learner completes the following activities: - Observes and assists in setting out, positioning and securing roof trusses |
| 9 | Building and bricklaying Building and | Grade 5 1st year - Lay a concrete floor and top screed Grade 5 2nd year | Grade 5 1st year The teacher: - Discusses and demonstrates how to lay a concrete floor and top screed The learner completes the following activities: - Observes and assists in laying a concrete floor and top screed Grade 5 2nd year |

| Grade 5 Term 2 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | bricklaying | - Fabricate formwork | The teacher: - Discusses and demonstrates how to fabricate formwork |
|  |  |  | The learner completes the following activities: - Observes and assists in fabricating formwork |
|  | Finishing | Grade 5 3rd year - Fit door locks | Grade 5 3rd year The teacher: - Discusses and demonstrates how to fit door locks |
|  |  |  | The learner completes the following activities: - Observes and assists in fitting door locks |

Practical assessment Term 2

Assessment is formally recorded during four (4) practical sessions with a minimum of four (4) skills reported. Learners, regardless of abilities, shall be assessed on the same skill. Although four theoretical are assessed and recorded, a minimum of one 1 theoretical activity is reported on. The following serves as suggestion of skills to record and report on.

The learner must be able to:

| Week | Grade 5 1st year | Grade 5 2nd year | Grade 5 3rd year |
| --- | --- | --- | --- |
| 2 | Dismantle access equipment Stack access equipment | Place formwork in position Build an arch | Use correct tools for horizontal joints Use correct tools for vertical joints |
| 3 | Erect a trestle scaffold Dismantle a trestle scaffold | Place formwork in position Build an arch | Place windows in position and level Secure window frame |
| 4 | Dry mix concrete Wet mix concrete | Prepare area for horizontal reinforcement Install horizontal reinforcement | Place windows in position and level Secure window frame |
| 5 | Dry mix mortar Wet mix mortar | Prepare area for horizontal reinforcement Install horizontal reinforcement | Mark out roof truss wall plates position Fit wall plates |
| 6 | Pour concrete Tamper concrete | Clear the work area for formwork Prepare the work area for formwork | Position roof trusses Secure roof trusses |
| 7 | Pour concrete Tamper concrete | Clear the work area for formwork Prepare the work area for formwork | Position roof trusses Secure roof trusses |
| 8 | Screed the concrete floor Float the concrete floor | Fabricate formwork Install formwork | Position roof trusses Secure roof trusses |
| 9 | Screed the concrete floor Float the concrete floor | Fabricate formwork Install formwork | Prepare door and frame for locks Fit door locks |

| Theoretical assessment Term 2 Assessment of 4 theoretical worksheets/activities to be recorded with a minimum of 1 theoretical worksheet/activity to be reported. The following serves as suggestions of worksheets/activities to report on. The learner must be able to: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Week | Grade 5 1st year | Grade 5 2nd year | Grade 5 3rd year |  |
|  | 2 | State the reason for using access equipment | State the reason for arch form work | Name the tools used for vertical and horizontal joints |  |
|  | 3 | State the purpose of a trestle scaffold | State the reason for arch formwork | State the purpose of windows |  |
|  | 4 | State the precautions taken when mixing concrete | State the reason for horizontal reinforcement | State how you would secure windows to the brickwork |  |
|  | 5 | State the precautions taken when mixing mortar | State the reason for horizontal reinforcement | State the purpose of roof truss wall plates |  |
|  | 6 | State the reason for tampering concrete | State the reason for formwork | State the purpose of roof trusses |  |
|  | 7 | State the reason for tampering concrete | State the reason for formwork | State how you would secure roof trusses |  |
|  | 8 | State the reason for screeding the concrete floor | State the material used for formwork | State the materials that roof trusses are made off |  |
|  | 9 | State the reason for screeding the concrete floor | State the material used for formwork | State the purpose of door locks |  |

    - Grade 5 : 1st, 2nd and 3rd year Term 3

| Grade 5 Term 3 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
| 1 | Health, safety and good housekeeping practices | Grade 5 1st year - Identify and use fire extinguishers - Identify and follow procedures for emergencies promptly and correctly | Grade 5 1st year The teacher: - Discusses and demonstrates how to identify and use fire extinguishers - Discusses and demonstrates how to identify and follow procedures for emergencies promptly and correctly |
|  |  |  | The learner completes the following activities: - Identifies and uses fire extinguishers - Identifies and follows procedures for emergencies promptly and correctly |
|  | Health, safety and good housekeeping practices | Grade 5 2nd year - Treat an injured person for shock - Observe organisational housekeeping policies and procedures - Practice good housekeeping | Grade 5 2nd year The teacher: - Discusses and demonstrates how to treat an injured person for shock - Discusses and demonstrates organisational housekeeping policies and procedures - Discusses and demonstrates how to practice good housekeeping |
|  |  |  | The learner completes the following activities: - Treats an injured person for shock - Observes organisational housekeeping policies and procedures - Practices good housekeeping |

| Grade 5 Term 3 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | World of work | Grade 5 3rd year - Work with competence - Have good work tolerance - Practice good housekeeping | Grade 5 3rd year The teacher: - Discusses and demonstrates how to work with competence - Discusses and demonstrates how to have good work tolerance - Discusses and demonstrates how to practice good housekeeping |
|  |  |  | The learner completes the following activities: - Works with competence - Practices good work tolerance - Practices good housekeeping |
| 2 | Building and bricklaying | Grade 5 1st year - Lay a concrete floor and top screed | Grade 5 1st year The teacher: - Discusses and demonstrates how to lay a concrete floor and top screed |
|  |  |  | The learner completes the following activities: - Observes and assists in laying a concrete floor and top screed |
|  | Building and bricklaying | Grade 5 2nd year - Conduct post-fabrication activities - Prepare the work area where the formwork is to be erected | Grade 5 2nd year The teacher: - Discusses and demonstrates how to conduct post-fabrication activities - Discusses and demonstrates how to prepare the work area where the formwork is to be erected |
|  |  |  | The learner completes the following activities: |

| Grade 5 Term 3 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  |  |  | - Observes and assists in conducting post-fabrication activities - Observes and assists in preparing the work area where the formwork is to be erected |
|  | Finishing | Grade 5 3rd year - Fit doors | Grade 5 3rd year The teacher: - Discusses and demonstrates how to fit doors |
|  |  |  | The learner completes the following activities: - Observes and assists in fitting doors |
| 3 | Building and bricklaying | Grade 5 1st year - Understand the principles of constructing load bearing walls | Grade 5 1st year The teacher: - Discusses the principles of constructing load bearing walls |
|  |  |  | The learner completes the following activities: - Understands the principles of constructing load bearing walls |
|  | Building and bricklaying | Grade 5 2nd year - Conduct post-fabrication activities - Prepare the work area where the formwork is to be erected | Grade 5 2nd year The teacher: - Discusses and demonstrates how to conduct post-fabrication activities - Discusses and demonstrates how to prepare the work area where the formwork is to be erected |
|  |  |  | The learner completes the following activities: |

| Grade 5 Term 3 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | Finishing | Grade 5 3rd year - Fit doors | - Observes and assists in conducting post-fabrication activities - Observes and assists in preparing the work area where the formwork is to be erected Grade 5 3rd year The teacher: - Discusses and demonstrates how to fit doors The learner completes the following activities: - Observes and assists in fitting doors |
| 4 | Building and bricklaying Building and bricklaying | Grade 5 1st year - Build 110 brick wall between columns Grade 5 2nd year - Erect formwork | Grade 5 1st year The teacher: - Discusses and demonstrates how to Build 110 brick wall between columns The learner completes the following activities: - Observes and assists in building 110 brick wall between columns Grade 5 2nd year The teacher: - Discusses and demonstrates how to erect formwork The learner completes the following activities: - Observes and assists in erecting formwork |

| Grade 5 Term 3 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | Finishing | Grade 5 3rd year - Fit DPC to roof | Grade 5 3rd year The teacher: - Discusses and demonstrates how to fit DPC to roof The learner completes the following activities: - Observes and assists in fitting DPC to roof |
| 5 | Building and bricklaying Building and bricklaying Finishing | Grade 5 1st year - Build 110 brick wall between columns Grade 5 2nd year - Erect formwork Grade 5 3rd year - Fit DPC to roof | Grade 5 1st year The teacher: - Discusses and demonstrates how to build 110 brick wall between columns The learner completes the following activities: - Observes and assists in building 110 brick wall between columns Grade 5 2nd year The teacher: - Discusses and demonstrates how to erect formwork The learner completes the following activities: - Observes and assists in erecting formwork Grade 5 3rd year The teacher: - Discusses and demonstrates how to fit DPC to roof |

| Grade 5 Term 3 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  |  |  | The learner completes the following activities: - Observes and assists in fitting DPC to roof |
| 6 | Building and bricklaying Building and bricklaying Finishing | Grade 5 1st year - Build 220 brick wall between columns Grade 5 2nd year - Pour concrete in the formwork Grade 5 3rd year - Fit roof tile battens | Grade 5 1st year The teacher: - Discusses and demonstrates how to build 220 brick wall between columns The learner completes the following activities: - Observes and assists in building 220 brick wall between columns Grade 5 2nd year The teacher: - Discusses and demonstrates how to pour concrete in the formwork The learner completes the following activities: - Observes and assists in pouring concrete in the formwork Grade 5 3rd year The teacher: - Discusses and demonstrates how to fit roof tile battens The learner completes the following activities: - Observes and assists in fitting roof tile battens |
| 7 | Building and bricklaying | Grade 5 1st year Build 220 brick wall between columns | Grade 5 1st year The teacher: |

| Grade 5 Term 3 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | Building and bricklaying Finishing | Grade 5 2nd year - Strip formwork Grade 5 3rd year - Fit roof tile battens | - Discusses and demonstrates how to build 220 brick wall between columns The learner completes the following activities: - Observes and assists in building 220 brick wall between columns Grade 5 2nd year The teacher: - Discusses and demonstrates how to strip formwork The learner completes the following activities: - Observes and assists in stripping formwork Grade 5 3rd year The teacher: - Discusses and demonstrates how to fit roof tile battens The learner completes the following activities: - Observes and assists in fitting roof tile battens |
| 8 | Building and bricklaying | Grade 5 1st year - Build a cavity wall with window frames | Grade 5 1st year The teacher: - Discusses and demonstrates how to fit build a cavity wall with window frames The learner completes the following activities: - Observes and assists in building a cavity wall with window frames |

| Grade 5 Term 3 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | Building and bricklaying Finishing | Grade 5 2nd year - Build decorative elements(flat or semi- circular arch) Grade 5 3rd year - Fit roof tiles | Grade 5 2nd year The teacher: - Discusses and demonstrates how to build decorative elements(flat or semi- circular arch) The learner completes the following activities: - Observes and assists in building decorative elements(flat or semi-circular arch) Grade 5 3rd year The teacher: - Discusses and demonstrates how to fit roof tiles The learner completes the following activities: - Observes and assists in fitting roof tiles |
| 9 | Building and bricklaying Building and bricklaying | Grade 5 1st year - Build a cavity wall with window frames Grade 5 2nd year - Build decorative elements(flat or semi- | Grade 5 1st year The teacher: - Discusses and demonstrates how to fit build a cavity wall with window frames The learner completes the following activities: - Observes and assists in building a cavity wall with window frames Grade 5 2nd year The teacher: |

| Grade 5 Term 3 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  |  | circular arch) Grade 5 3rd year - Fit roof tiles | - Discusses and demonstrates how to build decorative elements(flat or semi- circular arch) |
|  |  |  | The learner completes the following activities: - Observes and assists in building decorative elements(flat or semi-circular arch) |
|  | Finishing |  | Grade 5 3rd year The teacher: - Discusses and demonstrates how to fit roof tiles |
|  |  |  | The learner completes the following activities: - Observes and assists in fitting roof tiles |

Practical assessment term 3

Assessment is formally recorded during four (4) practical sessions with a minimum of four (4) skills reported. Learners, regardless of abilities, shall be assessed on the same skill. Although four theoretical are assessed and recorded, a minimum of one 1 theoretical activity is reported on. The following serves as suggestion of skills to record and report on.

The learner must be able to:

| Week | Grade 5 1st year | Grade 5 2nd year | Grade 5 3rd year |
| --- | --- | --- | --- |
| 2 | Lay a concrete floor Screed a concrete floor | Conduct post fabrication activities Prepare work area for formwork | Fit door hinges Fit doors |
| 3 | Show which is the strongest bond for load bearing walls Show how to construct load bearing walls | Conduct post fabrication activities Prepare work area for formwork | Fit door hinges Fit doors |
| 4 | Set profile for 110 brick wall Build a 110 brick wall | Measure material for formwork Erect formwork | Measure out DPC Lay DPC on trusses |
| 5 | Set profile for 110 brick wall Build a 110 brick wall | Measure material for formwork Erect formwork | Measure out DPC Lay DPC on trusses |
| 6 | Set profile for 220 brick wall Build a 220 brick wall | Mix concrete for formwork Pour concrete for formwork | Make up a tile batten spacer template Use template to fit roof tile battens |
| 7 | Set profile for 220 brick wall Build a 220 brick wall | Check if concrete is set Remove formwork | Make up a tile batten spacer template Use template to fit roof tile battens |
| 8 | Set a profile for a cavity wall with windows Build a cavity wall with window frames | Prepare work area Build decorative elements | Fit roof tiles Fit roof tile caps |
| 9 | Set a profile for a cavity wall with windows Build a cavity wall with window frames | Prepare work area Build decorative elements | Fit roof tiles Fit roof tile caps |

Theoretical assessment Term 3

| Assessment of 4 theoretical worksheets/activities to be recorded with a minimum of 1 theoretical worksheet/activity to be reported. The following serves as suggestions of worksheets/activities to report on. The learner must be able to: |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Week | Grade 5 1st year |  |  |  | Grade 5 2nd year | Grade 5 3rd year |  |
|  | 2 | State | the | reasons | for | State the purpose of | State the different types of |  |
|  |  | screeding the concrete floors |  |  |  | formwork | doors |  |
|  | 3 | State | the | purpose of | load | State the purpose of | State the different width of |  |
|  |  | bearing walls |  |  |  | formwork | doors |  |
|  | 4 | State | the purpose of a 110 |  |  | State the materials used in | State the purpose of DPC |  |
|  |  | wall |  |  |  | formwork |  |  |
|  | 5 | State | the purpose of a 110 |  |  | State the materials used in | State the reason for using of |  |
|  |  | wall |  |  |  | formwork | SABS DPC |  |
|  | 6 | State | the purpose of a 220 |  |  | State the purpose of putting | State the purpose of roof tile |  |
|  |  | wall |  |  |  | steel in formwork | batten spacer template |  |
|  | 7 | State | the purpose of a 220 |  |  | State the drying period of | State the purpose of roof tile |  |
|  |  | wall |  |  |  | concrete in formwork | battens |  |
|  | 8 | State | the reasons for cavity |  |  | State the purpose of building | State the purpose of roof tiles |  |
|  |  | walls |  |  |  | decorative elements |  |  |
|  | 9 | State | the reasons for cavity |  |  | State the purpose of building | State the purpose of roof tile |  |
|  |  | walls |  |  |  | decorative elements | caps |  |

    - Grade 5 : 1st, 2nd and 3rd year Term 4

| Grade 5 Term 4 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
| 1 | Health, safety and good housekeeping practices | Grade 5 1st year - Report injuries involving individuals to the relevant persons promptly | Grade 5 1st year The teacher: - Discusses how to report injuries involving individuals to the relevant persons promptly |
|  |  |  | The learner completes the following activities: - Reports injuries involving individuals to the relevant persons promptly |
|  | Health, safety and good housekeeping practices | Grade 5 2nd year - Comply with housekeeping procedures and policies - Identify and report shortcomings in housekeeping practices - Comply with relevant safety routines - Practice good housekeeping | Grade 5 2nd year The teacher: - Discusses and demonstrates how to comply with housekeeping procedures and policies - Discusses and demonstrates how to identify and report shortcomings in housekeeping practices - Discusses and demonstrates how to comply with relevant safety routines - Discusses and demonstrates how to practice good housekeeping |
|  |  |  | The learner completes the following activities: - Complies with housekeeping procedures and policies - Identifies and reports shortcomings in housekeeping practices |

| Grade 5 Term 4 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | World of work | Grade 5 3rd year - Practice appropriate social skills training - Be orientated to the open labour market | - Complies with relevant safety routines - Practices good housekeeping Grade 5 3rd year The teacher: - Discusses and demonstrates how to practice appropriate social skills training - Discusses how to be orientated to the open labour market The learner completes the following activities: - Practices appropriate social skills training - Is orientated to the open labour market |
| 2 | Building and bricklaying Building and bricklaying | Grade 5 1st year - Build a cavity wall with door frames Grade 5 2nd year - Finish decorative element - Join and point decorative element | Grade 5 1st year The teacher: - Discusses and demonstrates how to build a cavity wall with door frames The learner completes the following activities: - Observes and assists in building a cavity wall with door frames Grade 5 2nd year The teacher: - Discusses and demonstrates how to finish decorative element - Discusses and demonstrates how to join and point decorative element The learner completes the following activities: |

| Grade 5 Term 4 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | Finishing | Grade 5 3rd year - Paint undercoat | - Observes and assists in finishing decorative element - Observes and assists in joining and pointing decorative element Grade 5 3rd year The teacher: - Discusses and demonstrates how to paint undercoat The learner completes the following activities: - Observes and assists in painting undercoat |
| 3 | Building and bricklaying Building and bricklaying Finishing | Grade 5 1st year - Build a cavity wall with door frames Grade 5 2nd year - Lay tiles Grade 5 3rd year | Grade 5 1st year The teacher: - Discusses and demonstrates how to build a cavity wall with door frames The learner completes the following activities: - Observes and assists in building a cavity wall with door frames Grade 5 2nd year The teacher: - Discusses and demonstrates how to lay tiles The learner completes the following activities: - Observes and assists in laying of tiles Grade 5 3rd year |

| Grade 5 Term 4 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  |  | - Paint undercoat | The teacher: - Discusses and demonstrates how to paint undercoat The learner completes the following activities: - Observes and assists in painting undercoat |
| 4 | Building and bricklaying Building and bricklaying Finishing | Grade 5 1st year - Build in sills and embed tiles in mortar Grade 5 2nd year - Lay tiles Grade 5 3rd year - Install a range of finishing components | Grade 5 1st year The teacher: - Discusses and demonstrates how to build in sills and embed tiles in mortar The learner completes the following activities: - Observes and assists in building in sills and embedding tiles in mortar Grade 5 2nd year The teacher: - Discusses and demonstrates how to lay tiles The learner completes the following activities: - Discusses and demonstrates how to paint undercoat Grade 5 3rd year The teacher: - Discusses and demonstrates how to install a range of finishing components The learner completes the following activities: |

| Grade 5 Term 4 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  |  |  | - Discusses and demonstrates how to install a range of finishing components |
| 5 | Building and bricklaying Building and bricklaying Finishing | Grade 5 1st year - Build in sills and embed tiles in mortar Grade 5 2nd year - Lay pavers Grade 5 3rd year - Install a range of finishing components | Grade 5 1st year The teacher: - Discusses and demonstrates how to build in sills and embed tiles in mortar The learner completes the following activities: - Observes and assists in building in sills and embedding tiles in mortar Grade 5 2nd year The teacher: - Discusses and demonstrates how to lay pavers The learner completes the following activities: - Observes and assists in laying pavers Grade 5 3rd year The teacher: - Discusses and demonstrates how to install a range of finishing components The learner completes the following activities: - Discusses and demonstrates how to install a range of finishing components |
| 6 | Building and bricklaying | Grade 5 1st year - Lay blocks | Grade 5 1st year The teacher: - Discusses and demonstrates how to lay blocks |

| Grade 5 Term 4 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | Building and bricklaying Masonry structures | Grade 5 2nd year - Lay pavers Grade 5 3rd year - Repair faulty flashings | The learner completes the following activities: - Observes and assists in laying blocks Grade 5 2nd year The teacher: - Discusses and demonstrates how to lay pavers The learner completes the following activities: - Discusses and demonstrates how to lay pavers Grade 5 3rd year The teacher: - Discusses and demonstrates how to repair faulty flashings The learner completes the following activities: - Observes and assists in repairing faulty flashings |
| 7 | Building and bricklaying | Grade 5 1st year - Lay blocks | Grade 5 1st year The teacher: - Discusses and demonstrates how to lay blocks The learner completes the following activities: - Observes and assists in laying blocks |

| Grade 5 Term 4 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | Basic plastering skills Masonry structures | Grade 5 2nd year - Clean concrete slab - Check and level slab Grade 5 3rd year - Repair faulty flashings | Grade 5 2nd year The teacher: - Discusses and demonstrates how to clean concrete slab - Discusses and demonstrates how to check and level slab The learner completes the following activities: - Observes and assists in cleaning concrete slab - Observes and assists in checking and levelling slab Grade 5 3rd year The teacher: - Discusses and demonstrates how to repair faulty flashings The learner completes the following activities: - Observes and assists in repairing faulty flashings |
| 8 | Building and bricklaying | Grade 5 1st year - Build a right angle return half brick wall between vertical columns/ profiles | Grade 5 1st year The teacher: - Discusses and demonstrates how to build a right angle return half brick wall between vertical columns/ profiles The learner completes the following activities: - Observes and assists in building a right angle return half brick wall between vertical columns/ profiles |

| Grade 5 Term 4 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | Basic plastering skills Masonry structures | Grade 5 2nd year - Apply damp proof course on concrete slab where required Grade 5 3rd year - Repair cracks in walls | Grade 5 2nd year The teacher: - Discusses and demonstrates how to apply damp proof course on concrete slab where required The learner completes the following activities: - Observes and assists in applying damp proof course on concrete slab where required Grade 5 3rd year The teacher: - Discusses and demonstrates how to repair cracks in walls The learner completes the following activities: - Observes and assists in repairing cracks in walls |
| 9 | Building and bricklaying | Grade 5 1st year - Build a right angle return half brick wall between vertical columns/ profiles | Grade 5 1st year The teacher: - Discusses and demonstrates how to build a right angle return half brick wall between vertical columns/ profiles The learner completes the following activities: - Observes and assists in building a right angle return half brick wall between vertical columns/ profiles |

| Grade 5 Term 4 |  |  |  |
| --- | --- | --- | --- |
| Week | Topic | Content The learner must be able to: | Teaching tips, techniques, activities and resources |
|  | Basic plastering skills | Grade 5 2nd year - Top and screed floor surfaces | Grade 5 2nd year The teacher: - Discusses and demonstrates how to top and screed floor surfaces |
|  |  |  | The learner completes the following activities: Observes and assists in topping and screeding floor surfaces |
|  | Masonry structures | Grade 5 3rd year - Repair cracks in wall | Grade 5 3rd year The teacher: - Discusses and demonstrates how to repair cracks in walls |
|  |  |  | The learner completes the following activities: - Observes and assists in repairing cracks in walls |

Practical assessment Term 4

Assessment is formally recorded during four (4) practical sessions with a minimum of four (4) skills reported. Learners, regardless of abilities, shall be assessed on the same skill. Although four theoretical are assessed and recorded, a minimum of one 1 theoretical activity is reported on. The following serves as suggestion of skills to record and report on.

The learner must be able to:

| Week | Grade 5 1st year | Grade 5 2nd year | Grade 5 3rd year |
| --- | --- | --- | --- |
| 2 | Set profile Set door frame | Finish decorative element Point decorative element | Prepare surface for painting undercoat Paint on undercoat |
| 3 | Build a cavity wall Set lintel | Mark out area for tiling Lay tiles | Prepare surface for painting undercoat Paint on undercoat |
| 4 | Build in sills Embed tiles in sill | Cut finishing tiles Grout tiles | Fit glass blocks tracks Fit glass blocks |
| 5 | Build a cavity wall Set lintel | Prepare area for laying pavers Compact area for laying pavers | Fit caps on walls Point cap edges |
| 6 | Set profile Set mortar and builders line | Lay pavers Dust sea sand into joints or fill joints with mortar | Remove defective flashing Clean area |
| 7 | Lay blocks Lay half block in a stretcher bond | Clean concrete slab Level slab | Cut out flashing sheet Secure new flashing |
| 8 | Set profile Build a right angle return half brick | Measure DPC Cut and place DPC on concrete slab | Chip out, groove cracks Clean out cracks |
| 9 | Set profile Build a right angle return half brick | Screed floor surface Float floor surface | Fill cracks with mortar Float mortar in cracks |

| Theoretical assessment term 4 Assessment of 4 theoretical worksheets/activities to be recorded with a minimum of 1 theoretical worksheet/activity to be reported. The following serves as suggestions of worksheets/activities to report on. The learner must be able to: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Week | Grade 5 1st year | Grade 5 2nd year | Grade 5 3rd year |  |
|  | 2 | State the purpose of setting | State the reason for pointing | State the purpose of |  |
|  |  | door frames | decorative elements | undercoat |  |
|  | 3 | State the purpose of a lintel | State the purpose of tile fix | State the purpose of |  |
|  |  |  |  | undercoat |  |
|  | 4 | State the purpose of sills | State the purpose of grouting | State the purpose of glass |  |
|  |  |  | tiles | blocks |  |
|  | 5 | State the purpose of sills | State the reason for | State the purpose of caps |  |
|  |  |  | compacting the paving area |  |  |
|  | 6 | State the purpose of a | State the reason for using a | State the reason for renewing |  |
|  |  | builders line | level on paving | flashing |  |
|  | 7 | State the purpose of half | State the method of levelling | State the purpose of bitumen |  |
|  |  | blocks | the slab | on roof flashing |  |
|  | 8 | State the purpose of a right | State the purpose of DPC | State the reason for chipping/ |  |
|  |  | angle half brick |  | grooving cracks |  |
|  | 9 | State the purpose of a right | State the purpose of | State the reason for walls |  |
|  |  | angle half brick | screeding floor surfaces | cracking |  |